## Sheet1
Limits (± 2 standard deviations) for mean values of 15-30 motor unit potentials (MUPs, 112 muscles)
and upper/lower limits for the third of 20 MUPs (limits for individual MUPs - “outlier" limits, 97 muscles)
of the external anal sphincter (EAS) muscle obtained by multi-MUP analysis. As log(amplitude
is usually used by electromyography systems, values for this parameter are also presented.1
| MEAN VALUES |  |  |  | INDIVIDUAL
MUP parameter | Mean | SD | Lower | Upper | Lower | Upper
Amplitude (mV) | 405 | 128 | 148 | 661 | 84 | 1315
Log(amplitude) | 2.59 | 0.14 | 2.31 | 2.86 | - | -
Duration (ms) | 5.5 | 1.1 | 3.2 | 7.8 | 1.6 | 13.8
Area (mVms) | 356 | 135 | 87 | 625 | 46 | 1222
Thickness (ms) | 0.85 | 0.14 | 0.57 | 1.13 | 0.41 | 1.79
Size index | -0.2 | 0.3 | -0.8 | 0.4 | -1.57 | 1.45
Phases | 3 | 0.4 | 2.3 | 3.7 | 2 | 6
Turns | 2.9 | 0.5 | 1.9 | 3.9 | 1 | 6
Rise time (ms) | 0.53 | 0.05 | 0.43 | 0.63 | 0.2 | 2.2
Spike dur. (ms) | 2.9 | 0.55 | 1.9 | 4 | 1 | 7.8
Spike dur. – spike duration
Mean values, standard deviations (SD) and 95th percentile (“outlier") limits (normative data)
for motor unit potentials (MUPs) obtained by single-MUP, manual MUP and multi-MUP analyses
from the external anal sphincter (EAS) muscles. As log(amplitude) is usually used by
electromyography systems, values for this parameter are also presented.2
| Single-MUP |  |  | Manual-MUP |  |  | Multi-MUP
| MEAN | INDIVIDUAL |  | MEAN | INDIVIDUAL |  | MEAN | INDIVIDUAL
MUP parameter | Mean ± SD | Lower | Upper | Mean ± SD | Lower | Upper | Mean ± SD | Lower | Upper
Amplitude (mV) | 609 ± 193 | 300 | 1794 | 358 ± 89 | 89 | 1287 | 405 ± 128 | 84 | 1315
Log(amplitude) | 2.77 ± 0.13 | - | - | 2.54 ± 0.11 | - | - | 2.59 ± 0.14 | - | -
Duration (ms) | 7.0 ± 1.4 | 4 | 14.6 | 6.6 ± 1.0 | 2 | 12.4 | 5.5 ± 1.1 | 1.6 | 13.8
Area (mVms) | 572 ± 188 | 269 | 1671 | 362 ± 106 | 53 | 1216 | 356 ± 135 | 46 | 1222
Thickness (ms) | 0.95 ± 0.14 | 0.65 | 1.81 | 1.03 ± 0.16 | 0.45 | 2.17 | 0.85 ± 0.14 | 0.41 | 1.79
Size index | 0.28 ± 0.31 | -1.51 | 1.52 | -0.09 ± 0.25 | -1.44 | 1.48 | - 0.20 ± 0.30 | -1.57 | 1.45
Phases | 3.4 ± 0.5 | 1 | 7 | 3.2 ± 0.4 | 2 | 7 | 3.0 ± 0.4 | 2 | 6
Turns | 3.4 ± 0.6 | 1 | 8 | 3.0 ± 0.5 | 1 | 8 | 2.9 ± 0.5 | 1 | 6
Rise time (ms) | 0.79 ± 0.24 | 0.4 | 2.2 | 0.80 ± 0.21 | 0.2 | 2.8 | 0.53 ± 0.05 | 0.2 | 2.2
Spike duration (ms) | 3.5 ± 0.9 | 0.2 | 9.6 | 5.6 ± 1.5 | 0.4 | 16.2 | 2.9 ± 0.55 | 1 | 7.8
Comparison of normative data for motor unit potential (MUP) parameters of the diaphragm obtained by template-operated
(multi-MUP) analysis with normative data for two limb muscles.3
| MEAN VALUES |  |  |  | INDIVIDUAL
MUP parameter | Biceps brachii | Vastus lateralis | Diaphragm
| Mean ± SD | Mean ± SD | Mean ± SD | Range |  | 5th percentile | 95th percentile
Amplitude (mV) | 444 ± 137 | 769 ± 222 | 219 ± 68 | 84 - 355 |  | 77 | 674
Duration (ms) | 9.63 ± 1.63 | 13.05 ± 1.84 | 6.17 ± 1.31 | 3.55 - 8.80 |  | 2.16 | 12.96
Area (mVms) | 648 ± 242 | 1343 ± 436 | 228 ± 76 | 75 - 381 |  | 60 | 671
Thickness (ms) | 1.42 ± 0.16 | 1.73 ± 0.20 | 1.08 ± 0.17 | 0.74 - 1.41 |  | 0.48 | 2.05
Size index | 0.57 ± 0.35 | 1.34 ± 0.39 | - 0.39 ± 0.33 | -1.31 |  | -1.41 | 0.86
Phases | 2.86 ± 0.29 | 3.12 ± 0.26 | 2.63 ± 0.35 | 1.92 - 3.34 |  | 1 | 5.07
Turns | 2.63 ± 0.32 | 3.20 ± 0.42 | 2.14 ± 0.42 | 1.30 - 2.99 |  | 0.9 | 5
Spike duration (ms) | 3.84 ± 0.51 | 4.87 ± 0.80 | 3.43 ± 0.71 | 2.0 – 4.86 |  | 1.18 | 7.37
Log(amplitude) |  |  | 2.32 ± 0.13
Data for the diaphragm were obtained in 28, for the biceps brachii muscle in 34 and for the vastus lateralis in 33 control subjects
using multi-MUP analysis. Log(amplitude) – values obtained after logarithmic transformation (to be added to the EMG system normative data).
Comparison of reference data for motor unit potential (MUP) parameters of the genioglossus muscle with data
for the biceps brachii muscles.4
|  | MEAN VALUES |  | OUTLIERS |  | P-values
MUP parameter |  | Biceps brachii |  | Genioglossus
| Mean ± SD |  | Mean ± SD | Mean-2SD – mean+2SD | 5th - 95th percentiles |  | Students’
t-test
Amplitude (mV) | 444 ± 137 |  | 379 ± 110 | 160 - 599 | 103 - 1053 |  | 0.077
Duration (ms) | 9.63 ± 1.63 |  | 6.39 ± 1.33 | 3.73 - 9.06 | 2.57 - 11.87 |  | < 0.001
Area (mVms) | 648 ± 242 |  | 399 ± 143 | 113 - 685 | 77 - 999 |  | < 0.001
Thickness (ms) | 1.42 ± 0.16 |  | 1.06 ± 0.13 | 0.79 - 1.33 | 0.52 - 1.61 |  | < 0.001
Size index | 0.57 ± 0.35 |  | 0.06 ± 0.34 | -1.38 | -2.6 |  | < 0.001
Phases | 2.86 ± 0.29 |  | 2.77 ± 0.27 | 2.24 - 3.30 | 1.99 - 5.00 |  | 0.235
Turns | 2.63 ± 0.32 |  | 2.39 ± 0.39 | 1.62 - 3.16 | 1.00 - 4.00 |  | 0.018
Spike duration (ms) | 3.84 ± 0.51 |  | 2.73 ± 0.46 | 1.81 – 3.64 | 1.36 - 5.52 |  | < 0.001
Log(amplitude) | 2.63 ± 0.12 |  | 2.56 ± 0.13
Data for the genioglossus muscle were obtained in 20 control subjects (11 men, 9 women), aged 24-55 years and in 34 subjects
(17 men, 17 women) aged 24-81 years for the biceps brachii muscle using template operated multi-MUP analysis
P- values – significance of differences between MUP parameters’ mean values obtained in biceps brachii and genioglossus muscles
Log(amplitude) – due to a positively skewed distribution of MUP amplitude, the EMG system used in this study uses
logarithmic transformation of this parameter.
REFERENCES:
1 | Podnar S, Vodusek DB, Stalberg E. Standardization of anal sphincter electromyography: normative data. Clin Neurophysiol 2000;111:2200-2207.
2 | Podnar S, Vodusek DB, Stalberg E. Comparison of quantitative techniques in anal sphincter electromyography. Muscle Nerve 2002;25:83-92.
3 | Podnar S, Resman-Gaspersic A. Quantitative motor unit potential analysis in the diaphragm: a normative study. Muscle Nerve 2008;37:518-521.
4 | Martic V, Podnar S. Reference data for quantitative motor unit potential analysis in the genioglossus muscle. Muscle Nerve 2008;38:939-940.